JY Series Electronic Counter

1. Overview

JY series electronic counter has many merits, such as high accuracy, large range of number counting, complete functions, digital display, etc.

JY series electronic counter can be used in the industries of packing, printing, pharmacy, food, textile, papermaking, petroleum, chemical engineering, metallurgy, etc, operating as counting and display. It can also display and control the rotating revolution, length and other parameters.

2. Features

2.1 Adopt the micro-computer as its main control component In design, it is considered to replace

hardware with software if possible, so that the circuit comes into simplification and the

reliability is improved obviously.

2.2 Adopt the E2PROM to hold data in credibility and permanence.

2.3 Adopting the optimized electromagnetism compatible design, the anti-disturbance capability is

strong.

3. Technical parameters

3.1 Mounting kind: panel mounting kind or socket mounting kind

3.2 Counting frequency: high speed is 1000times/s, low speed is 30times/s

(The signal duty ratio is1:1 )

(If the counting frequency is higher than 1000times/s or other speed, special order is required.)

3.3 Input signal:

(1) Contact signal: relay, distance switch, microswitch, etc

(2) Non-contact signal: approach switch, photoelectric switch, etc.

(3) Pulse signal: TTL circuit and so forth (CP1 is the input terminal of negative pulse counting

signal and CP2 is the input terminal of positive pulse counting signal. the pulse voltage: low

level VL=0~1.3V, high level VH=3.8~30V).

3.4 Anti-disturbance intensity: 3 class (IEC-801)

3.5 The input impedance of signal: 5 kΩ

3.6 Data retention time when the power is turned off: 10 years

3.7 Reset (clear to zero) kind: when reset, the values of display and control output all clear to zero

(1) reset with the button on surface panel button (RESET key)

(2) reset with external terminals

(3) local automatic reset with time delay of 0.1~10 s (adjustable)

3.8 Output contact capability: AC220V, 3A (for resistance load)

3.9 The power voltage provided to external connecting sensor: DC12V, its current is listed in

Table 1.

3.10 Power supply: 220VAC+10%-15% , 50Hz±2%（special order is required for 24VDC or other

voltage)

3.11 Power consumption: ＜4.5W

.12 Operating environment: temperature 0~50℃，relative humidity≤85%

4. Specifications